## Sheet1
Area | Observations | Responsible Department | Action | Completion Date
Information Commons | Reference desk - Dangling surge protector | IT Services | Longer cord or mount the protector to desk
Information Commons | Many pods, such as C19, have hanging surge protectors and dangling cords | IT Services | Cables require organization/tidying
Information Commons | Windows by oversized periodicals: paint is peeling, clean up grout | Physical plant | Repair/replace
Information Commons | Windows do not close/latch properly | Physical plant | Repair/replace
Information Commons | Tile above the "jog", near maintenance room | Physical plant | Repair/replace
Circulation and Staff Area | Area between ILL and Circ head - partition walls need are unstable | Physical plant | Secure or replace the walls
Circulation and Staff Area | Jolene's area is ergonomically unfriendly | Library | Ergonomic assessment/ reorganization
Circulation and Staff Area | Erin's office computer chair mat is broken | Library | Replace
Circulation and Staff Area | Elaine's office - PC cables create tripping hazard | Library | Cables require organization/tidying
Circulation and Staff Area | Garbage recepticles are a tripping hazard | Library | Relocate
Main lobby | Entrance, buttons to push and pull doors, and no automatic doors are a barrier to accessibility | Physical plant | Replace with doors that can open automatically.
Staff Kitchen | Plumbing under sink is old and rusting | Physical plant | Replace
Reading Rooms 1-5 | Evacuation procedures are not posted | Library | Post
AV Area/Writing centre | Writing centre is poorly lit | Physical plant | Brighter lights
AV Area/Writing centre | Network cable hanging from wall to wall, tripping hazard | IT services | Longer cable to run along the wall
AV Area/Writing centre | Public PC's have power bars/surge protectors hanging/ plugged into other power bars | Library | Longer power bar cords
Photocopier Room (Main Floor) | Clear
Office Supplies | Objects are on top of the shelving | Library | Reorganize
Seminar Rooms 1-3 | #3: Some ceiling tiles are not in properly | Physical plant | Fix
Seminar Rooms 1-3 | #3: Evacuation procedures are not posted | Library | Post
Seminar Rooms 1-3 | #1: Ceiling panel askew | Physical plant | Fix
Tech II | Missing ceiling tile | Physical plant | Replace
Tech II | 2 loose ceiling tiles by the door to library | Physical plant | Replace
Tech II | Too warm | Library | Cease use of the dehumidifiers for the winter months
Tech II | Cluttered walkway to back of the room | Library | Reorganize contents of room
Tech II | Excess shelving is a tripping hazard | Library | Relocate/remove (is it useful to the library)
Tech II | Sring hanging from tiles | Physical plant | Remove
Stairs/Stairwell | Clear
Elevator | Clear
Tech III | Jenn's area - PC cables create a tripping hazard | Library | Cables require organization/tidying
Tech III | Jenn's area - 2 windows have water damage on the ceiling/casing | Physical plant | Repair window, repair drywall, paint, caulking
Tech III | Unused desk - Panel in behind the desk has a piece hanging off | Physical plant | Repair
Upper Lobby | Clear
Cobequid Boardroom | Seal is broken on the far right window, appears to be something growing on the sill/casing | Physical plant | Replace window, repair sill and caulking
Communications Room | There is a panel loose in the board and it is dangling on the wires. Cables are tidied up. | IT Services | Fix the panel
Mechanical Room | Paint falling from ceiling | Physical plant | Scrape and repaint
Electrical Room | Paint falling from ceiling | Physical plant | Scrape and repaint
Loading/Receiving Area | Light swtich is needed outside the Tech II door | Physical plant | Install motion detector light for safety of staff entering area from Tech II
Main Collection/Bound Periodicals | Near the PS section; radiator has orange tape on a panel door that is hanging ajar | Physical plant | Fix door
Main Collection/Bound Periodicals | Study carrels have hanging power cords | Library | Longer cords on power bars
Main Collection/Bound Periodicals | Power sources are too far from some tables; students hook up laptop cables and create tripping hazards | Physical plant | Move power sources to the floor
Archives | General housekeeping | Library | Tidy things off the floor
Archives | Move the chainsaw artifact off the floor | Library | Move onto shelving
Archives | Inner book room - light tube leaning up against the wall/door frame | Physical plant | Remove
Archives | Inner room Rear/emergency exit door - cluttered | Library | Clear clutter
Men's Washroom | Left urinal has water stain/damage running down the tile underneath | Physical plant | Clean/replace tile
Men's Washroom | Stall wall beside left urinal is damaged/rusted | Physical plant | Scrape and repaint OR replace entire panel
Men's Washroom | Tiles under radiator are cracked | Physical plant | Replace
Men's and Women's Washroom | Caulking around toilet needs to be cleaned/replaced | Physical plant | Clean/replace caulking
Women's Washroom | Radiator is rusting/leaking | Physical plant | Repair
Photocopier Room (Basement) | Paper cutter is accessible to anyone, no instructions, safety hazard | Library | Move paper cutter (1 is avail. at circ desk)
Photocopier Room (Basement) | Electrical outlet from old photocopier is exposed | Physical plant | Fix plate
Reference/ Government Documents | Clear